| Parameter | Symbol | Value |
| --- | --- | --- |
| Max. charging voltage | ΣU | 3000 kV |
| Max. stored energy at rated voltage | W | 150 kJ |
| Number of stages | S | 15 |
| Stage voltage | U | 200 kV |
| Stored energy for stage | Wₛ | 10 kJ |
| Impulse capacitance per stage | Cₛ | 0.5 µF |
| Wave form according to IEC 60-1 | — | 1.2/50 µs |
| Front resistor per stage | Rₛ1 | 30 Ω |
| Front resistor per stage | Rₛ2 | 46 Ω |
| Front resistor per stage | Rₛ3 | 3700 Ω |
| Front resistor per stage | Rₛ4 | 5000 Ω |
| Tail resistor per stage for lightning impulses | Rₚ1 | 180 Ω |
| Tail resistor per stage for switching impulses | Rₚ2 | 5 kΩ |
| Charging resistor per stage | Rᴸ | 135 kΩ |
| Potential resistor | Rₚₒₜ | 2 MΩ |
| Discharging resistor | Rₑᵣd1 | 5.45 kΩ |
| Discharging resistor | Rₑᵣd2 | 13 kΩ |
| Sequence of pulses | k | 2/min |
| Basic load capacitance | Cᵦₒ | 480 pF |
| Spheres diameter | — | 25 cm |

Note: If it is switching impulse 250/2500 and check the IEC 60060-1 tolerance limits are there in the specification.